## Scenarios
ID | Type | Scenario Name | Resources File | EV Growth | EV Charge | Battery MW | Battery MWh | Notes
1 | Baseline | Baseline | PGE_Resources.xlsx
2 | EV | High Growth - Night Charging | PGE_Resources.xlsx | High | Night |  |  | Add high EV load just from distribution of normal charging times
3 | EV | High Growth - Day Charging | PGE_Resources.xlsx | High | Day |  |  | Add high EV load charging at work during the day. I think this would only make sense in high solar penetration area
4 | EV | High Growth - Smart Charging | PGE_Resources.xlsx | High | Smart |  |  | Fill EV load in valley's ensuring minimal affect on capacity
5 | EV | Low Growth - Night Charging | PGE_Resources.xlsx | Low | Night
6 | Battery | Battery 500-1000 | PGE_Resources.xlsx |  |  | 500 | 1000
7 | Battery | Battery 500-2000 | PGE_Resources.xlsx |  |  | 500 | 2000
8 | Battery | Battery 500-4000 | PGE_Resources.xlsx |  |  | 500 | 4000
9 | Battery | Battery 1000-2000 | PGE_Resources.xlsx |  |  | 1000 | 2000
10 | Battery | Battery 1000-4000 | PGE_Resources.xlsx |  |  | 1000 | 4000
11 | Battery | Battery 1000-8000 | PGE_Resources.xlsx |  |  | 1000 | 8000
12 | Battery | Battery 2000-4000 | PGE_Resources.xlsx |  |  | 2000 | 4000
13 | Battery | Battery 2000-8000 | PGE_Resources.xlsx |  |  | 2000 | 8000 | All other scenarios than baseline
14 | Battery | Battery 2000-16000 | PGE_Resources.xlsx |  |  | 2000 | 16000 | have the coal plant closing
15 | Battery | Battery 3000-6000 | PGE_Resources.xlsx |  |  | 3000 | 6000 | All coal power gone in 2020, all existing hydro contracts extended to at least 2034
16 | Battery | Battery 3000-12000 | PGE_Resources.xlsx |  |  | 3000 | 12000
17 | Battery | Battery 3000-24000 | PGE_Resources.xlsx |  |  | 3000 | 24000
18 | Wind | Wind + 3000 MW | Resource_Insane_Wind.xslx
19 | Wind | Wind + 2000 MW | Resource_High_Wind.xslx
20 | Wind | Wind + 1000 MW | Resource_Med_Wind.xlsx
21 | Wind | Wind + 500 MW | Resource_Low_Wind.xlsx
22 | Wind | Wind + 3000 MW | Resource_Insane_Wind_offshore.xslx
23 | Wind | Wind + 2000 MW | Resource_High_Wind_offshore.xslx
24 | Wind | Wind + 1000 MW | Resource_Med_Wind_offshore.xlsx
25 | Wind | Wind + 500 MW | Resource_Low_Wind_offshore.xlsx
Wind + Solar
Combined
Combined
Combined
| Combined | High EV - Smart - High Wind - B | Resource_High_Wind.xslx |  |  | 1000 | 2000 | Hypothesis Recommended

## Questions
Interesting Questions we want to answer
EV
Day, vs Night charging? Impact on grid
Dumb vs Smart charging? Does it make a difference?
With smart, is there the potential to curtail wind.
Something with low growth vs high? I think maybe just pick one
While just picking one is easy, applying that range uncertainty to all other results seems tricky
Random: Result difference between inperpolating and not?
Batteries
At what $/kW or $/kWh are batteries cost effective to compete with a SCCT, CCCT?
What are the different benefits, costs of 1-2,4,8,12 ratios of kW-kWh?
What sizes should be used 500,1000,2000,3000,4000MW?
Should we have the batteries added to the grid increase every year?
Wind
At what point will wind create significant curtailment requirements as measured in MW, MWh
At what point will wind create significant ramps? Look at baseline max hourly diff and wind scenario max diff
Probably don't have time, but look at transmission costs plus benefit of importing better wind
Look at offshore Oregon wind vs onshore oregon wind
What is the most cost effective optimization between increasing wind and batteries?
What's the marginal benefit of adding more wind plus batteries? Does it make economic sense with CCCT?
At what price does natural gas have to rise to for this to work?
Coal
Can PGE survive without the coal plans?
What will be the rate payer impacts?
Carbon
What are the carbon reductions of all the plans?
If carbon is priced, how does that change things?
Economics
What are the annual operating costs for each scenario?
What will the rates be for each scenario?
Other
We haven't given any consideration to efficiency. What to do about that?
Results
Should we just say what options we want and then simulate all possible scenarios?
What should our methodology be for picking out scenarios? Ren: Get interesting findings