## Sheet1
|  | EV Scenarios | EV Scenarios | EV Scenarios | Wind Scenarios | Wind Scenarios | Wind Scenarios | Battery Scenarios | Battery Scenarios | Battery Scenarios | Battery Scenarios | Combined Scenarios | Combined Scenarios | Combined Scenarios
Scenario Name | Baseline | EV High - Night Charging | EV High - Day Charging | EV High - Smart Charging | [7 empty] | EV Night - High Wind | EV Smart - High Wind
Universal Changes from Baseline |  | All coal power gone in 2020, all existing hydro contracts extended to at least 2034
Resources File | Resources_Baseline.xlsx |  |  |  | Resource_High_Wind | Resource_High_Wind | Resource_High_Wind
EV Growth Profile
Battery kW | batteries could go in resource file
Battery kWh | batteries could go in resource file
should go so could be in load and resource table
Notes: | Required | Add high EV load just from distribution of normal charging times | Add high EV load charging at work during the day | Fill EV load in valley's ensuring minimal affect on capacity
Adam's Comments |  |  | I think this would only make sense in high solar penetration area | Potential for wind curtailment |  |  | Hypothesis Recommended

## Sheet2
Interesting Questions we want to answer
EV
Day, vs Night charging? Impact on grid
Dumb vs Smart charging? Does it make a difference?
With smart, is there the potential to curtail wind.
Something with low growth vs high? I think maybe just pick one
While just picking one is easy, applying that range uncertainty to all other results seems tricky
Random: Result difference between inperpolating and not?
Batteries
At what $/kW or $/kWh are batteries cost effective to compete with a SCCT, CCCT?
What are the different benefits, costs of 1-2,4,8,12 ratios of kW-kWh?
What sizes should be used 500,1000,2000,3000,4000MW?
Should we have the batteries added to the grid increase every year?
Wind
At what point will wind create significant curtailment requirements as measured in MW, MWh
At what point will wind create significant ramps? Look at baseline max hourly diff and wind scenario max diff
Probably don't have time, but look at transmission costs plus benefit of importing better wind
What is the most cost effective optimization between increasing wind and batteries?
What's the marginal benefit of adding more wind plus batteries? Does it make economic sense with CCCT?
At what price does natural gas have to rise to for this to work?
Coal
Can PGE survive without the coal plans?
What will be the rate payer impacts?
Carbon
What are the carbon reductions of all the plans?
If carbon is priced, how does that change things?
Economics
What are the annual operating costs for each scenario?
What will the rates be for each scenario?
Other
We haven't given any consideration to efficiency. What to do about that?
Results
Should we just say what options we want and then simulate all possible scenarios?
What should our methodology be for picking out scenarios? Ren: Get interesting findings

## Sheet3
Type | Scenario Name | Resources File | EV Growth | EV Charge
Baseline | Baseline | PGE_Resources.xlsx
EV | High Growth - Night Charging
EV | High Growth - Day Charging
EV | High Growth - Smart Charging
EV | Low Growth - Night Charging
Battery
Battery
Battery
Battery
Battery
Battery
Wind
Wind
Wind
Wind
Combined
Combined
Combined
Combined